## TEM MultiChoice Mapping
transmision_EM.corrector.type | transmision_EM.source | transmision_EM.ElectronicDiffraction | transmision_EM.electronPrecession.type | transmision_EM.camera.type | transmision_EM.scanningMode.type | transmision_EM.energyFiltering.type | transmision_EM.sampleHolder.options.type | transmision_EM.energyDispersiveSpectroscopy.detector | transmision_EM.camera.software.name | transmision_EM.sampleHolder.tilt | transmision_EM.sampleHolder.entry | transmision_EM.sampleHolder.inSitu | transmision_EM.sampleHolder.inSitu | transmision_EM.edOptions
Spherical Aberration | Canon LaB6 | SAED | Structure determination | CMOS | BF (Bright Field) | Column (omega filter) | Tensile and stress study | Si (Li) | Gatan DigitalMicrograph (DM) | No | Top | PO He liq -273 °C -> amb | NON | SAED (Selected Area Electron Diffraction)
Chromatic Aberration | Canon FEG hot cathode | CBED | Disorientation mapping | CCD | HAADF (High Angle Annular Dark Field Imaging) | Bottom-mounted Energy Loss Spectrometer and Detector (GiF) | Controled Atmosphere | SDD | FEI/Thermo Fisher TEM Software | Single | Side | PO N2 liq -196 °C -> amb | OUI Détecteur Si(Li) | CBD (Convergent Beam Electron Diffraction)
Distortion Corrector | Canon FEG cold cathode | NBED |  |  | ABF (Annular Bright Field) | Bottom-mounted Energy Loss Spectrometer and Filtered Imaging | Liquid media |  | SerialEM | Double |  | PO Chauffant amb -> 1200°C | OUI Détecteur SSD | NBD (Nano Beam Diffraction)
Phase |  |  |  |  | ADF |  | Electric Measurements |  | EPU (EPU Software Suite) |  |  | PO de Traction et d'études de contraines
Image | [6 empty] | Tomography |  | Leginon |  |  | PO sous atmosphère controlée
[7 empty] | Multi Grid Loading |  | TIA (TEM Imaging and Analysis) |  |  | PO pour milieu liquide
[9 empty] | GMS (Gatan Microscopy Suite) |  |  | PO pour mesures électriques
[9 empty] | EM-MENU |  |  | PO pour grilles multiples
spectroMass.analyseur.type
Quadrupôle
Piège à ions 3D
Piège à ions linéaire
TOF
Orbitrap
FTICR

## Mapping
| objects | property | type | measureUnit | Mandatory | Field type | description | Examples | elasticsearchName | isSearchable | helperChoice | helper | Denomination
OPTION | option | dynamic | runtime | option
INSTRUMENT | main | id | text | N/A | * | string | unique identifier |  | id | * |  |  | Instrument ID
| main | technic | text | N/A |  | string |  | NMR spectroscopy | technic | * |  |  | Technic
| main | title | text | N/A | * | string | title | 950 MHz (IBS) | title | * |  |  | Title
| main | manufacturer | text | N/A |  | string |  | Bruker | manufacturer |  |  |  | Manufacturer
| main | unitID | text | N/A |  | string |  |  | unitID |  |  |  | Unit ID
| main | plateformName | text | N/A |  | string |  |  | plateformName |  |  |  | Plateform Name
| main | hostComputerOS | text | N/A | * | string | title | 950 MHz (IBS) | hostComputerOS | * |  |  | Host Computer OS
| main | sharelink | text | N/A | * | string |  |  | sharelink | * |  |  | Sharelink
| main | pltName | text | N/A | * | string | plateform name | NMR | pltName | * |  |  | Plt Name
| main | coupledInstrumentId | text | N/A | * | string | Associated instrument id(s) |  | coupledInstrumentId | * |  |  | Instrument IDs
| main | prodDate | date | N/A |  | date |  |  | prodDate |  |  |  | Prod Date
EQUIPMENT
NMR | main | spectroNMR | SpectroNMR | N/A |  |  |  |  | spectroNMR |  |  |  | Spectro NMR
NMR | SpectroNMR | 1H_frequency | short | MHz |  | number |  | 950 | spectroNMR.1H_frequency |  |  |  | 1h Frequency
NMR | SpectroNMR | console | text | N/A |  | string |  | AVIII HD | spectroNMR.console |  |  |  | Console
NMR | SpectroNMR | boreSize | short | mm |  | number |  | 50 | spectroNMR.boreSize |  |  |  | Bore Size
NMR | SpectroNMR | configuration | text | N/A |  | string |  | Liquid | spectroNMR.configuration |  |  |  | Configuration
NMR | SpectroNMR | accessorie | text | N/A |  | string |  | Hyperpolirized Gas | spectroNMR.accessorie |  |  |  | Accessorie
NMR | SpectroNMR | sampleChanger | nested | N/A |  |  |  |  | spectroNMR.sampleChanger |  |  |  | Sample Changer
NMR | SampleChanger | id | text | N/A |  | string |  | G4564 | spectroNMR.sampleChanger.id |  |  |  | Sample Changer ID
NMR | SampleChanger | title | text | N/A |  | string |  |  | spectroNMR.sampleChanger.title |  |  |  | Title
NMR | SampleChanger | manufacturer | text | N/A |  | string |  | Bruker | spectroNMR.sampleChanger.manufacturer |  |  |  | Manufacturer
NMR | SampleChanger | configuration | text | N/A |  | string |  | Liquid | spectroNMR.sampleChanger.configuration |  |  |  | Configuration
NMR | SampleChanger | diameter | short | mm |  | number |  | 5 | spectroNMR.sampleChanger.diameter |  |  |  | Diameter
NMR | SampleChanger | holderNum | short | N/A |  | number |  | 24 | spectroNMR.sampleChanger.holderNum |  |  |  | Holder Num
NMR | SampleChanger | options | text | N/A |  | number |  | 293 | spectroNMR.sampleChanger.options |  |  |  | Options
NMR | SampleChanger | prodDate | date | N/A |  | date |  |  | spectroNMR.sampleChanger.prodDate |  |  |  | Prod Date
NMR | SampleChanger | instruId | text | N/A |  | string |  |  | spectroNMR.sampleChanger.instruId |  |  |  | Intrument ID
NMR | SpectroNMR | probe | nested | N/A |  |  |  |  | spectroNMR.probe |  |  |  | Probe
NMR | Probe | title | text | N/A |  | string |  | TCI | spectroNMR.probe.title |  |  |  | Title
NMR | Probe | sharelink | text | N/A |  | string |  |  | spectroNMR.probe.sharelink |  |  |  | Sharelink
NMR | Probe | 1H_frequency | short | MHz |  | number |  | 950 | spectroNMR.probe.1H_frequency |  |  |  | 1h Frequency
NMR | Probe | boreSize | short | mm |  | number |  | 50 | spectroNMR.probe.boreSize |  |  |  | Bore Size
NMR | Probe | type | text | N/A |  | string |  | Sonde HRMAS | spectroNMR.probe.type |  |  |  | Type
NMR | Probe | prodDate | date | N/A |  | date |  |  | spectroNMR.probe.prodDate |  |  |  | Prod Date
NMR | Probe | id | text | N/A |  | string |  | Z3456-5 | spectroNMR.probe.id |  |  |  | Probe ID
NMR | Probe | manufacturer | text | N/A |  | string |  | Bruker | spectroNMR.probe.manufacturer |  |  |  | Manufacturer
NMR | Probe | configuration | text | N/A |  | string |  | Liquid | spectroNMR.probe.configuration |  |  |  | Configuration
NMR | Probe | diameter | short | mm |  | number |  | 5 | spectroNMR.probe.diameter |  |  |  | Diameter
NMR | Probe | channelNumber | short | N/A |  | number |  | 2 | spectroNMR.probe.channelNumber |  |  |  | Channel Number
NMR | Probe | coilTemperature | short | K |  | number |  | 293 | spectroNMR.probe.coilTemperature |  |  |  | Coil Temperature
NMR | Probe | minTemp | short | C |  | number |  | 0 | spectroNMR.probe.minTemp |  |  |  | Min Temp
NMR | Probe | maxTemp | short | C |  | number |  | 100 | spectroNMR.probe.maxTemp |  |  |  | Max Temp
NMR | Probe | maxMAS | long | Hz |  | number |  | 100 | spectroNMR.probe.maxMAS |  |  |  | Max Mas
NMR | Probe | channel | text | N/A |  | string |  | 1H | spectroNMR.probe.channel |  |  |  | Channel
NMR | Probe | instruId | text | N/A |  | string |  |  | spectroNMR.probe.instruId |  |  |  | Intrument ID
NMR | Probe | accessorie | text | N/A |  | string |  |  | spectroNMR.probe.accessorie |  |  |  | Accessorie
NMR | Probe | gradient | Gradient | [5 empty] | spectroNMR.probe.gradient |  |  |  | Gradient
NMR | Gradient | axis | text | N/A |  | string |  | Z | spectroNMR.probe.gradient.axis |  |  |  | Axis
NMR | Gradient | title | text | N/A |  | string |  |  | spectroNMR.probe.gradient.title |  |  |  | Title
NMR | Gradient | XmaxStrength | short | G/cm |  | number |  | 66 | spectroNMR.probe.gradient.XmaxStrength |  |  |  | X Max Strength
NMR | Gradient | YmaxStrength | short | G/cm |  | number |  | 66 | spectroNMR.probe.gradient.YmaxStrength |  |  |  | Y Max Strength
NMR | Gradient | ZmaxStrength | short | G/cm |  | number |  | 66 | spectroNMR.probe.gradient.ZmaxStrength |  |  |  | Z Max Strength
LASERBOX | SpectroNMR | laser | nested | [5 empty] | spectroNMR.laser |  |  |  | Laser
LASERBOX | Laser | sharelink | text | N/A |  | string |  |  | spectroNMR.laser.sharelink |  |  |  | Sharelink
LASERBOX | Laser | title | text | N/A |  | string |  |  | spectroNMR.laser.title |  |  |  | Title
LASERBOX | Laser | id | text | N/A |  | string |  |  | spectroNMR.laser.id |  |  |  | Laser ID
LASERBOX | Laser | prodDate | date | N/A |  | date |  |  | spectroNMR.laser.prodDate |  |  |  | Prod Date
LASERBOX | Laser | maxPower | short | W |  | number |  | 0.20 | spectroNMR.laser.maxPower |  |  |  | Max Power
LASERBOX | Laser | minWaveLength | short | um |  | number |  | 400 | spectroNMR.laser.minWaveLength |  |  |  | Min Wave Length
LASERBOX | Laser | maxWaveLength | short | um |  | number |  | 500 | spectroNMR.laser.maxWaveLength |  |  |  | Max Wave Length
LASERBOX | Laser | spectralLength | short | um |  | number |  | 1 | spectroNMR.laser.spectralLength |  |  |  | Spectral Length
LASERBOX | Laser | source | text |  |  | string |  |  | spectroNMR.laser.source |  |  |  | Source
LASERBOX | Laser | technology | text |  |  | string |  |  | spectroNMR.laser.technology |  |  |  | Source technology
LASERBOX | Laser | coherence | text |  |  | string |  |  | spectroNMR.laser.coherence |  |  |  | Source coherence
LASERBOX | Laser | mode | text |  |  | string |  |  | spectroNMR.laser.mode |  |  |  | Operation mode
DNP | SpectroNMR | dNP | DNP | N/A |  |  |  |  | spectroNMR.dNP |  |  |  | dNP
DNP | DNP | title | text | N/A |  | string |  | DNP INAC 400MHz | spectroNMR.dNP.title |  |  |  | Title
DNP | DNP | sharelink | text | N/A |  | string |  |  | spectroNMR.dNP.sharelink |  |  |  | Sharelink
DNP | DNP | id | text | N/A |  | string |  | G4564 | spectroNMR.dNP.id |  |  |  | dNP ID
DNP | DNP | manufacturer | text | N/A |  | string |  | Bruker | spectroNMR.dNP.manufacturer |  |  |  | Manufacturer
DNP | DNP | source | text | N/A |  | string |  | gyrotron | spectroNMR.dNP.source |  |  |  | Source
MOSS | main | mossbauer | Mossbauer | N/A |  |  |  |  | mossbauer |  |  |  | Mossbauer
MOSS | Mossbauer | type | text | N/A |  | string |  | Source synchrotron (SMS) | mossbauer.type |  |  |  | Type
MOSS | Mossbauer | isotope | text | N/A |  | string |  | 121Sb | mossbauer.isotope |  |  |  | Isotope
MOSS | Mossbauer | cryoFurnace | CryoFurnace | N/A |  |  |  |  | mossbauer.cryoFurnace |  |  |  | Cryofurnace
MOSS | CryoFurnace | minTemp | long | N/A |  | number |  |  | mossbauer.cryoFurnace.minTemp |  |  |  | Min Temp
MOSS | CryoFurnace | maxTemp | long | N/A |  | number |  |  | mossbauer.cryoFurnace.maxTemp |  |  |  | Max Temp
MOSS | Mossbauer | highPressure | HighPressure | N/A |  |  |  |  | mossbauer.highPressure |  |  |  | High Pressure
MOSS | HighPressure | minTemp | long | N/A |  | number |  |  | mossbauer.highPressure.minTemp |  |  |  | Min Temp
MOSS | HighPressure | maxTemp | long | N/A |  | number |  |  | mossbauer.highPressure.maxTemp |  |  |  | Max Temp
MOSS | HighPressure | minPa | long | N/A |  | number |  |  | mossbauer.highPressure.minPa |  |  |  | Min PA
MOSS | HighPressure | maxPa | long | N/A |  | number |  |  | mossbauer.highPressure.maxPa |  |  |  | Max PA
MOSS | Mossbauer | magnet | Magnet | N/A |  |  |  |  | mossbauer.magnet |  |  |  | Magnet
MOSS | Magnet | minTemp | long | N/A |  | number |  |  | mossbauer.magnet.minTemp |  |  |  | Min Temp
MOSS | Magnet | maxTemp | long | N/A |  | number |  |  | mossbauer.magnet.maxTemp |  |  |  | Max Temp
MOSS | Magnet | minField | long | N/A |  | number |  |  | mossbauer.magnet.minField |  |  |  | Min Field
MOSS | Magnet | maxField | long | N/A |  | number |  |  | mossbauer.magnet.maxField |  |  |  | Max Field
MOSS | Mossbauer | inSituType | text | N/A |  | string |  |  | mossbauer.inSituType |  |  |  | In Situ Type
MASS | main | spectroMass | SpectroMass | N/A | [8 empty] | Spectro Mass
MASS | SpectroMass | analyseur | Analyseur | N/A |  |  |  |  | spectroMass.analyseur |  |  |  | Analyseur
MASS | Analyseur | type | text | N/A |  | string |  | 3D ion trap | spectroMass.analyseur.type |  |  |  | Type
MASS | Analyseur | sharelink | text | N/A |  | string |  |  | spectroMass.analyseur.sharelink |  |  |  | Sharelink
MASS | Analyseur | title | text | N/A |  | string |  |  | spectroMass.title |  |  |  | Title
MASS | Analyseur | id | text | N/A |  | string |  |  | spectroMass.id |  |  |  | Spectro Mass ID
MASS | Analyseur | resolution | short |  |  | number |  | 2 | spectroMass.analyseur.resolution |  |  |  | Resolution
MASS | Analyseur | ionTrap | IonTrap | N/A |  |  |  |  | spectroMass.analyseur.ionTrap |  |  |  | Ion Trap
MASS | IonTrap | type | text | N/A |  | string |  |  | spectroMass.analyseur.ionTrap.type |  |  |  | Type
MASS | Analyseur | fticr | Fticr | N/A |  |  |  |  | spectroMass.analyseur.ionTrap.fticr |  |  |  | FTICR
MASS | Fticr | magneticField | short | T |  | number |  | 7 | spectroMass.analyseur.ionTrap.magneticField |  |  |  | Magneticfield
RX | main | xRD | XRD | N/A |  |  |  |  | xRD |  |  |  | XRD
RX | XRD | name | text | N/A |  | string |  |  | xRD.name |  |  |  | Name
RX | XRD | manufacturer | text | N/A |  | string |  |  | xRD.manufacturer |  |  |  | Manufacturer
RX | XRD | type | text | N/A |  | string |  | pour monocristal | xRD.type |  |  |  | Type
RX | XRD | transmissionMode | text | N/A |  | string |  | Tube RX classique | xRD.transmissionMode |  |  |  | Transmission Mode
RX | XRD | reflexionMode | text | N/A |  | string |  | Tube RX classique | xRD.reflexionMode |  |  |  | Reflexion Mode
RX | XRD | source | text | N/A |  | string |  | Tube RX classique | xRD.source |  |  |  | Source
RX | XRD | waveLength | text | N/A |  | string |  | Ag | xRD.waveLength |  |  |  | Wave Length
RX | XRD | options | text | N/A |  | string |  | Ag | xRD.options |  |  |  | Options
RX | XRD | detector | nested | N/A |  |  |  |  | xRD.detector |  |  |  | Detector
RX | Detector | type | text | N/A |  | string |  | CMOS | xRD.detector.type |  |  |  | Type
RX | Detector | sharelink | text | N/A |  | string |  |  | xRD.detector.sharelink |  |  |  | Sharelink
RX | Detector | title | text | N/A |  | string |  |  | xRD.detector.title |  |  |  | Title
RX | Detector | id | text | N/A |  | string |  | Z123212_0002 | xRD.detector.id |  |  |  | XRD ID
RX | Detector | manufacturer | text | N/A |  | string |  | BRUKER | xRD.detector.manufacturer |  |  |  | Manufacturer
RX | Detector | prodDate | date | N/A |  | string |  | 2013-12-02 | xRD.detector.prodDate |  |  |  | Prod Date
RX | Detector | cps | short | degree |  | number |  | 120° | xRD.detector.cps |  |  |  | CPS
RX | Detector | dimension | short | N/A |  | string |  | 2D | xRD.detector.dimension |  |  |  | Dimension
RX | Detector | scintillationPoint | text | N/A |  | string |  | NaI | xRD.detector.scintillationPoint |  |  |  | Scintillation Point
RX | XRD | mounting | nested | N/A |  |  |  |  | xRD.mounting |  |  |  | Mounting
RX | Mounting | sharelink | text | N/A |  | string |  |  | xRD.mounting.sharelink |  |  |  | Sharelink
RX | Mounting | type | text | N/A |  | string |  | montage en rélféxion | xRD.mounting.type |  |  |  | Type
RX | Mounting | geometry | text | N/A |  | string |  | géométrie Bragg-Brentano | xRD.mounting.geometry |  |  |  | Geometry
RX | XRD | optics | nested | N/A |  |  |  |  | xRD.optics |  |  |  | Optics
RX | Optics | antiDivergenceSlit | text | N/A |  | string |  | Ag | xRD.optics.antiDivergenceSlit |  |  |  | Anti Divergences Lit
RX | Optics | antiDiffusionSlit | text | N/A |  | string |  | Ag | xRD.optics.antiDiffusionSlit |  |  |  | Anti Diffusions Lit
RX | Optics | sollerSlit | short | N/A |  | string |  | Ag | xRD.optics.sollerSlit |  |  |  | Sollers Lit
RX | Optics | sharelink | text | N/A |  | string |  |  | xRD.optics.sharelink |  |  |  | Sharelink
RX | Optics | options | text | N/A |  | string |  |  | xRD.optics.options |  |  |  | Options
RX | Optics | type | text | N/A |  | string |  | masques | xRD.optics.type |  |  |  | Type
RX | Optics | split | text | N/A |  | string |  | soller | xRD.optics.split |  |  |  | Split
RX | Optics | angle | short | degree |  | number |  | 1,5° | xRD.optics.angle |  |  |  | Angle
RX | Optics | mirror | text | N/A |  | string |  | goebel | xRD.optics.mirror |  |  |  | Mirror
RX | Optics | attenuator | text | N/A |  | string |  | fixe | xRD.optics.attenuator |  |  |  | Attenuator
RX | Optics | monochromator | text | N/A |  | string |  | johansson | xRD.optics.monochromator |  |  |  | Monochromator
RX | XRD | accessories | Accessories | N/A |  |  |  |  | xRD.accessories |  |  |  | Accessories
RX | Accessories | id | text | N/A |  | string |  | GDL-66575859 | xRD.accessories.id |  |  |  | Accessories ID
RX | Accessories | title | text | N/A |  | string |  |  | xRD.accessories.title |  |  |  | Title
RX | Accessories | manufacturer | text | N/A |  | string |  | BRUKER | xRD.accessories.manufacturer |  |  |  | Manufacturer
RX | Accessories | type | text | N/A |  | string |  | chambre en température | xRD.accessories.type |  |  |  | Type
RX | Accessories | roomType | text | N/A |  | string |  | sous vide |  |  |  |  | Room Type
RX | Accessories | tempRoom | nested | N/A | [8 empty] | Temp Room
RX | TempRoom | maxTemp | short | degree |  | number |  | negative 180° to 450° | xRD.accessories.tempRoom.maxTemp |  |  |  | Max Temp
RX | TempRoom | minTemp | short | degree |  | number |  | negative 180° to 450° | xRD.accessories.tempRoom.minTemp |  |  |  | Min Temp
RX | TempRoom | id | text | N/A |  | string |  |  | xRD.accessories.tempRoom.id |  |  |  | Temp Room ID
RX | TempRoom | title | text | N/A |  | string |  |  | xRD.accessories.tempRoom.title |  |  |  | Title
RX | TempRoom | manufacturer | text | N/A |  | string |  |  | xRD.accessories.tempRoom.manufacturer |  |  |  | Manufacturer
RX | TempRoom | type | text | N/A |  | string |  |  | xRD.accessories.tempRoom.type |  |  |  | Type
RX | TempRoom | prodDate | date | N/A |  | string |  |  | xRD.accessories.tempRoom.prodDate |  |  |  | Prod Date
RX | TempRoom | gasAtm | date | N/A |  | string |  |  | xRD.accessories.tempRoom.gasAtm |  |  |  | Gasatm
RX | Accessories | sampleHolder | nested | N/A |  |  |  |  | xRD.sampleHolder |  |  |  | Sample Holder
RX | SampleHolder | capillary | short | N/A |  | number |  |  | xRD.sampleHolder.capillary |  |  |  | Capillary
RX | SampleHolder | options | text | N/A |  | string |  |  | xRD.sampleHolder.options |  |  |  | Options
RAMAN | main | spectrometerRaman | SpectrometerRaman | [5 empty] | spectrometerRaman |  |  |  | Spectro Meter Raman
RAMAN | SpectrometerRaman | type | text | N/A |  | string |  | HR Visible | spectrometerRaman.type |  |  |  | Type
RAMAN | SpectrometerRaman | waveLength | short | nm |  | number |  | 473 | spectrometerRaman.waveLength |  |  |  | Wave Length
RAMAN | SpectrometerRaman | objective | text | N/A |  | string |  | X10 | spectrometerRaman.objective |  |  |  | Objective
RAMAN | SpectrometerRaman | grid | short | N/A |  | number |  | 300 | spectrometerRaman.grid |  |  |  | Grid
RAMAN | SpectrometerRaman | focalLength | short | mm |  | number |  | 800 | spectrometerRaman.focalLength |  |  |  | Focal Length
RAMAN | SpectrometerRaman | pairing | text | N/A |  | string |  | AFM | spectrometerRaman.pairing |  |  |  | Pairing
RAMAN | SpectrometerRaman | accessorie | Accessorie | N/A |  |  |  |  | spectrometerRaman.accessorie |  |  |  | Accessorie
RAMAN | Accessorie | id | text | N/A |  | string |  | LKM-954762 | spectrometerRaman.accessorie.id |  |  |  | Accessorie ID
RAMAN | Accessorie | type | text | N/A |  | string |  | Nanodisplacement table | spectrometerRaman.accessorie.type |  |  |  | Type
TEM | main | transmision_EM | Transmision_EM | [5 empty] | transmision_EM |  |  |  | Transmision Em
TEM | Transmision_EM | manufacturer | text | N/A |  | string |  |  | transmision_EM.manufacturer |  |  |  | Manufacturer
TEM | Transmision_EM | sharelink | text | N/A |  | string |  |  | transmision_EM.sharelink |  |  |  | Sharelink
TEM | Transmision_EM | maxResolution | short | nm |  | number |  | 0.15 | transmision_EM.maxResolution |  |  |  | Maxres
TEM | Transmision_EM | monochromator | boolean | N/A |  | string |  | Yes / No | transmision_EM.monochromator |  |  |  | Monochromator
TEM | Transmision_EM | source | text | N/A |  | string |  | Canon LaB6 | transmision_EM.source |  |  |  | Source
TEM | Transmision_EM | dataCollection | text | N/A |  | string |  | automatic | transmision_EM.dataCollection |  |  |  | Data Collection
TEM | Transmision_EM | emissionVoltage | short | kV |  | number |  | 300 | transmision_EM.emissionVoltage |  |  |  | Voltage
TEM | Transmision_EM | sampleHolderEntry | text | N/A |  | string |  | Canon LaB6 | transmision_EM.sampleHolderEntry |  |  |  | Source
TEM | Transmision_EM | options | text | N/A |  | string |  |  | transmision_EM.options |  |  |  | Options
TEM | Transmision_EM | edOptions | text | N/A |  | string |  | SAED (Selected Area Electron Diffraction) | transmision_EM.edOptions |  |  |  | Electron Diffraction (ED) Modes
TEM | Transmision_EM | stemOptions | text | N/A |  | string |  |  | transmision_EM.stemOptions |  |  |  | Scanning Transmission Electron Microscopy (STEM) Modes
TEM | Transmision_EM | epOptions | text | N/A |  | string |  |  | transmision_EM.epOptions |  |  |  | Electron Precession
TEM | Transmision_EM | efOptions | text | N/A |  | string |  |  | transmision_EM.efOptions |  |  |  | Energy Filtering - EELS type
TEM | Transmision_EM | type | text | N/A |  | string |  |  | transmision_EM.type |  |  |  | Magnetic field imaging methods
TEM | Transmision_EM | eds | text | N/A |  | string |  |  | transmision_EM.eds |  |  |  | Energy Dispersive Spectroscopy
TEM | Transmision_EM | corrector | nested | [5 empty] | transmision_EM.corrector |  |  |  | Corrector
TEM | Corrector | options | text | N/A |  | string |  |  | transmision_EM.corrector.options |  |  |  | Options
TEM | Corrector | title | text | N/A |  | string |  |  | transmision_EM.corrector.title |  |  |  | Options
TEM | Corrector | instruId | text | N/A |  | string |  |  | transmision_EM.corrector.instruId |  |  |  | Options
TEM | Corrector | type | text | N/A |  | string |  | Probe / Image | transmision_EM.corrector.type |  |  |  | Type
TEM | Corrector | name | text | N/A |  | string |  |  | transmision_EM.corrector.name |  |  |  | Name
TEM | Corrector | manufacturer | text | N/A |  | string |  |  | transmision_EM.corrector.manufacturer |  |  |  | Manufacturer
TEM | Corrector | model | text | N/A |  | string |  |  | transmision_EM.corrector.model |  |  |  | Model
TEM | Transmision_EM | camera | nested | [5 empty] | transmision_EM.camera |  |  |  | Camera
TEM | Camera | sharelink | text | N/A |  | string |  |  | transmision_EM.camera.sharelink |  |  |  | Sharelink
TEM | Camera | title | text | N/A |  | string |  |  | transmision_EM.camera.title |  |  |  | Sharelink
TEM | Camera | id | text | N/A |  | string |  |  | transmision_EM.camera.id |  |  |  | Sharelink
TEM | Camera | type | text | N/A |  | string |  | CMOS | transmision_EM.camera.type |  |  |  | Type
TEM | Camera | name | text | N/A |  | string |  |  | transmision_EM.camera.name |  |  |  | Name
TEM | Camera | manufacturer | text | N/A |  | string |  |  | transmision_EM.camera.manufacturer |  |  |  | Manufacturer
TEM | Camera | sensorHeight | short | N/A |  | number |  |  | transmision_EM.camera.sensorHeight |  |  |  | Sensor Height
TEM | Camera | sensorWidth | short | N/A |  | number |  |  | transmision_EM.camera.sensorWidth |  |  |  | Sensor Width
TEM | Camera | detectionMode | text | N/A |  | string |  | Direct detecion | transmision_EM.camera.detectionMode |  |  |  | Detection Mode
TEM | Camera | options | text | N/A |  | string |  |  | transmision_EM.camera.options |  |  |  | Detection Mode
TEM | Camera | instruId | text | N/A |  | string |  |  | transmision_EM.camera.instruId |  |  |  | Detection Mode
TEM | Camera | softwareName | text | N/A |  | string |  |  | transmision_EM.camera.softwareName |  |  |  | Software
TEM | Transmision_EM | sampleHolder | nested | [5 empty] | transmision_EM.sampleHolder |  |  |  | Sample Holder
TEM | SampleHolder | minTemp | short | C |  | number |  | -200 | transmision_EM.sampleHolder.minTemp |  |  |  | Min Temp
TEM | SampleHolder | maxTemp | short | C |  | number |  | 100 | transmision_EM.sampleHolder.maxTemp |  |  |  | Max Temp
TEM | SampleHolder | entry | text | N/A |  | string |  | Top | transmision_EM.sampleHolder.entry |  |  |  | Entry
TEM | SampleHolder | inSitu | text | N/A |  | string |  | PO He liq -273 °C -> amb | transmision_EM.sampleHolder.inSitu |  |  |  | Insitu
TEM | SampleHolder | tilt | text | N/A |  | string |  |  | transmision_EM.sampleHolder.tilt |  |  |  | Tilt
TEM | SampleHolder | options | text | N/A |  | string |  |  | transmision_EM.sampleHolder.options |  |  |  | Options
TEM | SampleHolder | instruId | text | N/A |  | string |  |  | transmision_EM.sampleHolder.instruId |  |  |  | Options
TEM | SampleHolder | dedicated | text | N/A |  | string |  |  | transmision_EM.sampleHolder.dedicated |  |  |  | Options
TEM | SampleHolder | title | text | N/A |  | string |  |  | transmision_EM.sampleHolder.title |  |  |  | Options
TEM | SampleHolder | operando | text | N/A |  | string |  |  | transmision_EM.sampleHolder.operando |  |  |  | Options
TEM | SampleHolder | instruId | text | N/A |  | string |  |  | transmision_EM.camera.instruId |  |  |  | Detection Mode
SEM | main | scanning_EM | Scanning_EM | [5 empty] | scanning_EM |  |  |  | Scanning Em
SEM | Scanning_EM | source | text | N/A |  | string |  |  | scanning_EM.source |  |  |  | Source
SEM | Scanning_EM | type | text | N/A |  | string |  |  | scanning_EM.type |  |  |  | Source
SEM | Scanning_EM | configuration | text | N/A |  | string |  |  | scanning_EM.configuration |  |  |  | Source
SEM | Scanning_EM | voltageMin | float | N/A |  | string |  |  | scanning_EM.voltageMin |  |  |  | Voltage Min
SEM | Scanning_EM | voltageMax | float | N/A |  | string |  |  | scanning_EM.voltageMax |  |  |  | Voltage Max
SEM | Scanning_EM | voltageResolutionMaxLT | float | N/A |  | string |  |  | scanning_EM.voltageResolutionMaxLT |  |  |  | Voltage Min
SEM | Scanning_EM | voltageResolutionMaxHT | float | N/A |  | string |  |  | scanning_EM.voltageResolutionMaxHT |  |  |  | Voltage Max
SEM | Scanning_EM | resolutionMaxLT | float | N/A |  | string |  |  | scanning_EM.resolutionMaxLT |  |  |  | Resolution Max
SEM | Scanning_EM | resolutionMaxHT | float | N/A |  | string |  |  | scanning_EM.resolutionMaxHT |  |  |  | Resolution Max
SEM | Scanning_EM | oneKvResolution | float | N/A |  | string |  |  | scanning_EM.oneKvResolution |  |  |  | Resolution Max
SEM | Scanning_EM | imagingMode | text | N/A |  | string |  |  | scanning_EM.imagingMode |  |  |  | Imaging Mode
SEM | Scanning_EM | hvDetector | text | N/A |  | string |  |  | scanning_EM.hvDetector |  |  |  | Detector Type
SEM | Scanning_EM | cpDetector | text | N/A |  | string |  |  | scanning_EM.cpDetector |  |  |  | Detector Type
SEM | Scanning_EM | chemAnalysis | text | N/A |  | string |  |  | scanning_EM.chemAnalysis |  |  |  | Chem Analysis Type
SEM | Scanning_EM | accessories | text | N/A |  | string |  |  | scanning_EM.accessories |  |  |  | Chem Analysis Type
SEM | Scanning_EM | cryoPreparationChamber | text | N/A |  | string |  |  | scanning_EM.cryoPreparationChamber |  |  |  | Chem Analysis Type
SEM | Scanning_EM | camera | Camera | [5 empty] | scanning_EM.camera |  |  |  | Camera
SEM | Camera | manufacturer | text | N/A |  | string |  |  | scanning_EM.camera.manufacturer |  |  |  | Manufacturer
SEM | Camera | type | text | N/A |  | string |  |  | scanning_EM.camera.type |  |  |  | Type
SEM | Camera | id | text | N/A |  | string |  |  | scanning_EM.camera.id |  |  |  | Type
SEM | Scanning_EM | inSitu | InSitu | [5 empty] | scanning_EM.inSitu
SEM | InSitu | manufacturer | text | N/A |  | string |  |  | scanning_EM.inSitu.manufacturer |  |  |  | Manufacturer
SEM | InSitu | type | text | N/A |  | string |  |  | scanning_EM.inSitu.type |  |  |  | Type
SEM | InSitu | id | text | N/A |  | string |  |  | scanning_EM.inSitu.id |  |  |  | Type
SEM | InSitu | title | text | N/A |  | string |  |  | scanning_EM.inSitu.title |  |  |  | Type
SEM | InSitu | csMinTemp | short | N/A |  | string |  |  | scanning_EM.inSitu.csMinTemp |  |  |  | Min Temp
SEM | InSitu | csMaxTemp | short | N/A |  | string |  |  | scanning_EM.inSitu.csMaxTemp |  |  |  | Max Temp
SEM | InSitu | htsMinTemp | short | N/A |  | string |  |  | scanning_EM.inSitu.htsMinTemp |  |  |  | Min Temp
SEM | InSitu | htsMaxTemp | short | N/A |  | string |  |  | scanning_EM.inSitu.htsMaxTemp |  |  |  | Max Temp
SEM | InSitu | options | text | N/A |  | string |  |  | scanning_EM.inSitu.options |  |  |  | Chem Analysis Type
FIB | main | fib | Fib | [5 empty] | fib |  |  |  | FIB
FIB | Fib | source | text | N/A |  | string |  |  | fib.source |  |  |  | Source
FIB | Fib | options | text | N/A |  | string |  |  | fib.options |  |  |  | Options
FIB | Fib | gis | text | N/A |  | string |  |  | fib.gis |  |  |  | Gas injection system
FIB | Fib | accessories | text | N/A |  | string |  |  | fib.accessories |  |  |  | accessories
FIB | Fib | applications | text | N/A |  | string |  |  | fib.applications |  |  |  | Applications
FIB | Fib | fibsem | text | N/A |  | string |  |  | fib.fibsem |  |  |  | Applications
EPMA | main | epma | Epma | [5 empty] | epma |  |  |  | EPMA
| Epma | title | text | [5 empty] | epma.title |  |  |  | title
| Epma | source | text | [5 empty] | epma.source |  |  |  | Electron Source
| Epma | voltageMin | long | kV |  |  |  |  | epma.voltageMin |  |  |  | Lower Emission Voltage
| Epma | voltageMax | long | kV |  |  |  |  | epma.voltageMax |  |  |  | Maximum Emission Voltage
| Epma | beamVoltage | long | eV |  |  |  |  | epma.beamVoltage |  |  |  | Beam AccelerationVoltage
| Epma | imaging | text | [5 empty] | epma.imaging |  |  |  | Elemental Mapping
| Epma | elementalMapping | text | [5 empty] | epma.elementalMapping |  |  |  | Minimum Sample Size
| Epma | sampleSizeMin | short | mm |  |  |  |  | epma.sampleSizeMin |  |  |  | Maximum Sample Size
| Epma | sampleSizeMax | long | mm |  |  |  |  | epma.sampleSizeMax |  |  |  | Accessories
| Epma | accessories | text | [5 empty] | epma.accessories
| Epma | eds | Eds
| Eds | title | text | [5 empty] | epma.eds.title |  |  |  | title
| Eds | instruId | text | [5 empty] | epma.eds.instruId |  |  |  | main id
| Eds | id | text | [5 empty] | epma.eds.id |  |  |  | probe id
| Eds | manufacturer | text | [5 empty] | epma.eds.manufacturer |  |  |  | Manufacturer
| Eds | prodDate | date | [5 empty] | epma.eds.prodDate |  |  |  | Production date
| Eds | type | text | [5 empty] | epma.eds.type |  |  |  | Type
| Epma | wds | Wds
| Wds | title | text | [5 empty] | epma.wds.title |  |  |  | WDS
| Wds | instruId | text | [5 empty] | epma.wds.instruId |  |  |  | main id
| Wds | id | text | [5 empty] | epma.wds.id |  |  |  | probe id
| Wds | manufacturer | text | [5 empty] | epma.wds.manufacturer |  |  |  | Manufacturer
| Wds | prodDate | date | [5 empty] | epma.wds.prodDate |  |  |  | Production date
| Wds | type | text | [5 empty] | epma.wds.type |  |  |  | Type
| Wds | orientation | short | [5 empty] | epma.wds.orientation |  |  |  | Upright Spectrometer
| Wds | number | short | [5 empty] | epma.wds.number |  |  |  | Tilted Spectrometer
| Wds | rawlandSize | short | mm |  |  |  |  | epma.wds.rawlandSize |  |  |  | Rowland Circle Size
| Wds | Xtal | text | [5 empty] | epma.wds.Xtal |  |  |  | Crystal
RPE | main | rpe | Rpe | [5 empty] | rpe |  |  |  | RPE
| Rpe | instruId | text | [5 empty] | rpe.instruId |  |  |  | Instruid
| Rpe | title | text | [5 empty] | rpe.title |  |  |  | Title
| Rpe | continuousWaveCavityType | text | [5 empty] | rpe.continuousWaveCavityType |  |  |  | Continuous Wave Spectrometer Cavity
| Rpe | pulseWaveGenType | text | [5 empty] | rpe.pulseWaveGenType |  |  |  | Pulse Wave Spectrometer
| Rpe | pulseWaveCavityType | text | [5 empty] | rpe.pulseWaveCavityType |  |  |  | Pulse Wave Spectrometer Cavity
| Rpe | bandWidth | long | GHz |  |  |  |  | rpe.bandWidth |  |  |  | Frequency
| Rpe | bandWidthType | text | [5 empty] | rpe.bandWidthType |  |  |  | Type
| Rpe | freeMinTemp | long | K |  |  |  |  | rpe.freeMinTemp |  |  |  | Minimum Temperature
| Rpe | freeMaxTemp | long | K |  |  |  |  | rpe.freeMaxTemp |  |  |  | Maximum Temperature
| Rpe | doubleResType | text | [5 empty] | rpe.doubleResType |  |  |  | Double Resonance
| Rpe | imagingType | text | [5 empty] | rpe.imagingType |  |  |  | Imaging
| Rpe | maxGradient | short | G/cm |  |  |  |  | rpe.maxGradient |  |  |  | Maximum Gradient
| Rpe | insituphotochem | text | [5 empty] | rpe.insituphotochem |  |  |  | On Line Coupling

## MappingTest
| objects | property | type | measureUnit | Mandatory | Field type
INSTRUMENT | Instrument | id | text | N/A | * | string
| Instrument | institution | text | N/A | * | string
| Instrument | city | text | N/A | * | string
| Instrument | technic | text | N/A |  | string
| Instrument | Manager | Manager
| Instrument | Machine | Machine
MANAGER | Manager | title | text | N/A | * | string
| Manager | firstname | text | N/A | * | string
| Manager | lastname | text | N/A | * | string
| Manager | orcid | text | N/A |  | string
| Manager | city | text | N/A | * | string
| Manager | institution | text | N/A | * | string
| Manager | Address | Address
ADDRESS | Address | address1 | text | N/A | * | string
| Address | postcode | text | N/A | * | string
| Address | country | text | N/A | * | string
EQUIPMENT | Machine | spectroNMR | text | N/A
| Machine | mossbauer | text | N/A
| Machine | spectroMass | text | N/A

## mossbauer MultiChoice Mapping
mossbauer.type | mossbauer.isotope | mossbauer.accessorie.type
Transmission | 57Fe | Cryostats
Conversion electrons (CEMS) | 99Ru | Cryofurnace for in situ analysis
Synchrotron source (SMS) | 119Sn | Furnace
ICEMS | 121Sb | Cryo-magnet
DCEMS (X-ray | gamma-ray and electron reflection) | Electromagnet
Gamma ray reflection | 127/129I | Electrochemical cell and galvanostat for in situ or in operando analysis
| 151/153Eu | High pressure cell
155Gd
161Dy
166Er
182W
193Ir
197Au
61Ni
67Zn
149Sm
169Tm
170/171Yb
178Hf
181Ta
189Os
195Pt
237Np

## Technic multiChoice Mapping
technic
NMR spectroscopy
Mössbauer
Mass spectrometry

## spectroNMR MultiChoice Mapping
spectroNMR.configuration | spectroNMR.probe.type | spectroNMR.probe.accessorie.name | spectroNMR.accessorie.name | spectroNMR.probe.channel.nucleus | spectroNMR.probe.channel.nucleus
Liquid | Sonde liquide | REDOR box | Chromatography Coupling | 1H | X
Solid | Cryosonde | Micro coils | Hyperpolirized Gas | 13C | Y
Imaging | MAS | Automatic tuning & matching | Refrigirated Sample Changer | 19F | Z
| Sonde solide statique |  | Room Temperature Sample Changer | 2H
| Sondes avec flux continu |  | Heated Sample Changer | 15N
| Sonde HRMAS |  | Low Temperature Exchanger | 31P
| Sonde statique très haute température |  | Sample Preparation Robot | X
| Sonde MAS très haute température |  | Very Low Temperature Exchanger | Y
| Sonde pour l’imagerie |  | High Pressure Device | Z
Sonde pour la mesure de diffusion
Sonde basse temperature
Sonde pour l'électrochimie
Sonde solide avec goniomètre

## spectroMass MultiChoice Mapping
spectroMass.analyseur.type
Quadrupole
3D ion trap
Linear ion trap
TOF
Orbitrap
FTICR

## RAMAN MultiChoice Mapping
transmision_EM.corrector.type | transmision_EM.source | transmision_EM.ElectronicDiffraction | transmision_EM.electronPrecession.type | transmision_EM.camera.type | transmision_EM.scanningMode.type | transmision_EM.energyFiltering.type | spectrometerRaman.type | spectrometerRaman.objective | spectrometerRaman.accessorie.type
Phase |  |  |  |  | ADF |  | HR visible | X10 | Motorised XYZ table
Image | [6 empty] | HR évolution | X15 | Motorised XY table
[7 empty] | HR UV | X40 | Nanodisplacement table
[8 empty] | X50 | Linkam stage (temperature control from -180°C to 600°C)
[8 empty] | X80 | Half-wave blade and analysers
[8 empty] | 50X LWD | Double scanner (laser illuminates a surface rather than a point)
X100 LWD
90° prism for observing liquids
spectroMass.analyseur.type
Quadrupôle
Piège à ions 3D
Piège à ions linéaire
TOF
Orbitrap
FTICR